## ARC Needs (UCSB)
ARC Testing Needs (UCSB)
| Total Needs | Have | Still Need | Under Control
Computer (ISA slot) | 5 | 2 | 3 | no
PCMIO board | 5 | 1 | 4 | no
ARC Controller | 5 | 1 | 4 | no
ARC FE (old) | 4 | 1 | 3 | no
ARC FE (new) | 6 | 1 | 5 | no
hybrid-to-utri (ver b) | 0 | 2 | -2 | yes
hybrid-to-utri (ver d) | 6 | 0 | 6 | no
LED | 2 | 0 | 2 | yes
LV Supply | 10 | 2 | 8 | yes
HV cable | 8 | 8 | 0 | yes
Crowbar | 4 | 1 | 3 | yes
DEPP | 4 | 0 | 4 | no
Hybrid Holders | 600 | 0 | 600 | no
Clamshell | 4 | 0 | 4 | yes
Hybrid Clamshells | 2 | 0 | 2 | no
Hybrid Thermal Cycler | 1 | 0 | 1 | no
Rack Enclosures | 3 | 1 | 2 | yes
Hybrid/ module Storage Racks | 6 | 0 | 6 | no
Inspection Table | 1 | 1 | 0 | yes
Microscope | 1 | 1 | 0 | yes
LV Test tail Version 1.12 | 200 | 15 | 185 | yes
LV Test tail Version 2 | 70 | 0 | 70 | no
HV Test tail Version 2 | 140 | 0 | 140 | no
HV Test tail Version 3 | 200 | 15 | 185 | yes

## DAQ Module Needs (UCSB)
DAQ Module Testing Needs (UCSB)
Assumes that no single module daq stand after burnin box
| Total Needs | Have | Still Need | Under Control
Computer (3 PSI + 1 ISA + 1 Controller) | 1 | 1 | 0 | yes | Need to find controller now
TSC | 1 | 1 | 0 | yes
FED | 1 | 1 | 0 | yes
FEC | 1 | 1 | 0 | yes
DI/O CIO-DAS6402/12 | 1 | 0 | 1 | no
MUX Crates | 1 | 1 | 0 | yes
MUX Boards | 3 | 3 | 0 | yes
CCU | 2 | 1 | 1 | no
VUTRI | 10 | 2 | 8 | no
hybrid-to-utri (ver d) | 10 | 0 | 10 | no
PAACB | 10 | 1 | 9 | no
LV Supply (single) | 2 | 2 | 0 | yes | Temporary supply until burnin ready
LV Cable | 1 | 3 | -2 | yes
LV Supply (Burnin) | 2 | 1 | 1 | yes | 1 Leader 718-5D+1 Leader 718-20D
LV Cables (Burnin-long) | 10 | 0 | 10 | yes
LV Cables (Burnin-short) | 10 | 0 | 10 | yes
LV Distribution (Burnin) | 1 | 0 | 1 | yes
HV Supply (single) | 1 | 2 | -1 | yes | Keithley 487
HV current box | 1 | 0 | 1 | yes
HV Supply (Burnin) | 10 | 10 | 0 | yes | CAEN
Electometers | 10 | 0 | 10 | no
HV controller | 1 | 0 | 1 | no | A303 or A1303 or V288
Transformer for crate | 1 | 0 | 1 | no
HV cable | 20 | 20 | 0 | yes
Crowbar | 10 | 0 | 10 | yes
Module Holders | 600 | 100 | 500 | yes
Cold Box Carrier | 10 | 0 | 10 | no
Burnin Box (module) | 1 | 0 | 1 | no
Torino Interlock Box | 1 | 0 | 1 | no
Chiller | 1 | 1 | 0 | yes
Module Testing Storage Racks | 6 | 0 | 6 | no
Long Term Storage | 3 | 0 | 3 | no

## DAQ Rod Needs (UCSB)
DAQ Rod Testing Needs (UCSB)
| Total Needs | Have | Still Need | Under Control
Computer (PCI 3 slot +1 ISA + 1 Controller) | 1 | 0 | 1 | yes | Need to find controller type now
Computer (PCI 6 slot + 1 controller) | 1 | 0 | 1 | yes | Need to find controller type now
TSC | 2 | 0 | 2 | no
FED | 4 | 0 | 4 | no
FEC (ROD) | 3 | 0 | 3 | no | Not clear why we need two FEC for burnin
DI/O CIO-DAS6402/12 | 1 | 0 | 1 | no
MUX Crates | 4 | 0 | 4 | no
MUX Boards | 23 | 0 | 23 | no
OEC | 18 | 0 | 18 | no
DOH | 3 | 0 | 3 | no | Duccio said unnecessery
LV Supply (rod) | 9 | 0 | 9 | no
HV Supply | 28 | 28 | 0 | yes | CAEN
Electrometers | 12 | 0 | 12 | no | Assumes we use CAEN measurement for ROD burnin
HV controller | 2 | 0 | 2 | no
Transformer for crate | 2 | 0 | 2 | no
HV patch panel (single-sided) | 8 | 0 | 8 | no | Maybe same as double sided
HV patch panel (double-sided) | 8 | 0 | 8 | no
HV cable | 56 | 56 | 0 | yes
Crowbar | 28 | 0 | 28 | yes
Burnin Box (rod) | 1 | 0 | 1 | no
Rod Holders | 100 | 0 | 100 | yes
Module Tools | 2 | 0 | 2 | no
Rod Handling Tool | 2 | 0 | 2 | no
Rod Rotation Table | 1 | 0 | 1 | no

## UCSB Totals
UCSB Total Needs
Computers
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
Computer (ISA slot) | 5 | 2 | 3 | no | Lap | lap@hep.ucsb.edu | 2003-02-15 | Lap | lap@hep.ucsb.edu | 2003-02-15
Computer (3 PCI slot + 1 ISA slot +1 Controller) | 2 | 1 | 1 | no | Lap | lap@hep.ucsb.edu | 2003-02-15 | Lap | lap@hep.ucsb.edu | 2003-02-15 | Need to find out which CAEN controller
Computer (PCI 6 slot +1 controller) | 1 | 0 | 1 | no | Lap | lap@hep.ucsb.edu | 2003-02-15 | Lap | lap@hep.ucsb.edu | 2003-02-15 | Need to find out which CAEN controller
ARC Components
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
PCMIO board | 5 | 1 | 4 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
ARC Controller | 5 | 1 | 4 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
ARC FE (old) | 4 | 1 | 3 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11 | Make sure to switch our new with FNAL old
ARC FE (new) | 6 | 1 | 5 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
hybrid-to-utri (ver b) | 0 | 2 | -2 | yes | Patrice Siegriest | patrice.siegrist@cern.ch |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Finished
hybrid-to-utri (ver d) | 16 | 0 | 16 | no | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-14 | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-14 | Need for testing of newest modules
LED | 2 | 0 | 2 | no | Aachen | arcs-devel@gondor.com | 2003-02-11 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
DAQ Components
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
TSC | 3 | 1 | 2 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13
FED | 5 | 1 | 4 | no | G. Hall |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13
FEC | 1 | 1 | 0 | yes |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to understand if 2nd Fec in burnin necessery
FEC (ROD) | 3 | 0 | 3 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to understand if 2nd Fec in burnin necessery
MUX Crates | 5 | 1 | 4 | no | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26 | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26
MUX Boards | 26 | 3 | 23 | no | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26 | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26
CCU | 2 | 1 | 1 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to figure out mounting of these in burn-in box
VUTRI | 10 | 2 | 8 | no | Patrice Siegriest | patrice.siegrist@cern.ch |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to figure out mounting of these in burn-in box
PAACB | 10 | 1 | 9 | no | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-14 | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-14 | Need to figure out mounting of these in burn-in box
OEC | 18 | 0 | 18 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch
DOH | 3 | 0 | 3 | yes |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Duccio said not necessary
DI/O CIO-DAS6402/12 | 2 | 0 | 2 | no
LV Supplies
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
LV (module single) | 12 | 4 | 8 | yes | Len | leonard@fnal.gov | 2003-02-13 | Len | leonard@fnal.gov | 2003-02-13 | 2 Agilent and 10 Leader 718-5D
LV (module Burnin) | 2 | 1 | 1 | yes | Len | leonard@fnal.gov |  | Len | leonard@fnal.gov |  | 1 Leader 718-5D + 1 Leader 718-20D
LV (rod) | 9 | 0 | 9 | no | duccio?? |  |  | duccio?? |  |  | Not sure if correct
LV cable (DAQ) | 1 | 3 | -2 | yes | me |  |  | me |  |  | Finished
LV cable (Burnin-long) | 10 | 0 | 10 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Bukre | sburke@hep.ucsb.edu
LV cable (Burnin-short) | 10 | 0 | 10 | yes | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-27 | Patrice Siegrest | patrice.siegrist@cern.ch | 2003-02-27
LV Distribution (Burnin) | 1 | 0 | 1 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Bukre | sburke@hep.ucsb.edu
HV Supplies
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
DEPP | 4 | 0 | 4 | no | Aachen | arcs-devel@gondor.com | 2003-02-11 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2./11/2003 | Need to request this quantity once it works
HV (single module) | 1 | 2 | -1 | yes | Gale Hanson | Gail.Hanson@ucr.edu | 2003-01-30 | Gale Hanson | Gail.Hanson@ucr.edu | 2003-01-30 | 2 Keithley 437
HV (CAEN) | 38 | 38 | 0 | yes | CERN |  |  | Len | leonard@fnal.gov |  | 220 V, 50 Hz
Crow bars | 42 | 1 | 41 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV cables | 84 | 84 | 0 | yes | Len | leonard@fnal.gov | 2003-02-13 | Len | leonard@fnal.gov | 2003-02-13 | Surplus FNAL cable, cancel S. Burke's order if possible
HV current box | 1 | 0 | 1 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV controller | 3 | 0 | 3 | no | Andreas Ruben | sales.us@weiner-d,com | 2003-02-27 | Len | leonard@fnal.gov |  | 10-12 deliver time (A303 or A1303 or V288)
Transformer for crates | 3 | 0 | 3 | no | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu |  | Need to find this
Electrometer | 22 | 0 | 22 | no
HV patch panel (single sided) | 8 | 0 | 8 | no | [6 empty] | Need to find this
HV patch panel (double sided) | 8 | 0 | 8 | no | [6 empty] | Need to find this
Infrastructure
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
Hybrid Holders | 600 | 0 | 600 | no | Alan Honma | Alan.Honma@cern.ch |  | Dave Hale | dhale@hep.ucsb.edu |  | Want to us in fast testing , bonding and thermal testing
Clamshell | 4 | 0 | 4 | yes | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Hybrid Clamshell | 2 | 0 | 2 | no | Tony |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Arrival fast test and characterization, holds hybrids in a standard way
Hybrid Thermal Cycler | 1 | 0 | 1 | no | Alan Honma | Alan.Honma@cern.ch |  | Alan Honma | Alan.Honma@cern.ch
Module Holders | 600 | 100 | 500 | yes | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Cold Box Carrier Plates | 10 | 0 | 10 | no | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Burnin Box (module) | 1 | 0 | 1 | no |  |  |  | Ariella Cattai | Ariella.Cattai@cern.ch
Torino Interlock Box | 1 | 0 | 1 | no | Lino Demaria | demaria@to.infn.it |  | Lino Demaria | demaria@to.infn.it
Chiller | 1 | 1 | 0 | yes | Len | leonard@fnal.gov |  | Len | leonard@fnal.gov
Rack Enclosures | 3 | 1 | 2 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu |  | For holding of ARC stands
Storage Racks | 12 | 0 | 12 | no | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Inspection Table | 1 | 1 | 0 | yes | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu |  | Finished
Microscope | 1 | 1 | 0 | yes | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu |  | Finished
Long Term Storage | 3 | 0 | 3 | no | Dave Hale | dhale@hep.ucsb.edu |  | Regina Demina | regina@phys.ksu.edu
Rod Holder | 100 | 0 | 100 | yes | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Finished
Burnin Box (rod) | 1 | 0 | 1 | no | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11
Module Tools | 2 | 0 | 2 | no
Rod Handling Tool | 2 | 0 | 2 | no
Rod Rotation Table | 1 | 0 | 1 | no
LV Test tail Version 1.12 | 200 | 15 | 185 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
LV Test tail Version 2 | 70 | 0 | 70 | no | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV Test tail Version 2 | 140 | 0 | 140 | no | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV Test tail Version 3 | 200 | 15 | 185 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu

## ARC Needs (FNAL)
ARC Testing Needs (FNAL)
| Total Needs | Have | Still Need | Under Control
Computer (ISA slot) | 4 | 4 | 0 | yes
PCMIO board | 4 | 2 | 2 | no
ARC Controller | 4 | 2 | 2 | no
ARC FE (old) | 0 | 2 | -2 | yes
ARC FE (new) | 8 | 1 | 7 | no
hybrid-to-utri (ver b) | 0 | 1 | -1 | yes
hybrid-to-utri (ver d) | 8 | 0 | 8 | no
LED | 2 | 1 | 1 | yes
LV Supply | 4 | 4 | 0 | yes
HV cable | 8 | 8 | 0 | yes
Crowbar | 4 | 0 | 4 | yes
DEPP | 4 | 0 | 4 | no
Clamshell | 4 | 1 | 3 | yes
Hybrid Clamshells | 2 | 0 | 2 | yes
LV Test tail Version 1.12 | 200 | 15 | 185 | yes
LV Test tail Version 2 | 70 | 0 | 70 | no
HV Test tail Version 2 | 140 | 0 | 140 | no
HV Test tail Version 3 | 200 | 15 | 185 | yes

## DAQ Module Needs (FNAL)
DAQ Module Testing Needs (FNAL)
Assumes that a single module daq stand after burnin box
| Total Needs | Have | Still Need | Under Control
Computer (3 PCI) | 1 | 1 | 0 | yes
Computer (3 PCI + 1 ISA + 1 controller) | 1 | 0 | 1 | no | Need to find controller type
TSC | 2 | 2 | 0 | yes
FED | 2 | 2 | 0 | yes
FEC | 2 | 2 | 0 | yes
DI/O CIO-DAS6402/12 | 1 | 0 | 1 | no | Assumes Keithley HV for single module stand
MUX Crates | 1 | 0 | 1 | no
MUX Boards | 3 | 0 | 3 | no
CCU | 3 | 2 | 1 | no
VUTRI | 11 | 4 | 7 | no
hybrid-to-utri (ver d) | 11 | 0 | 11 | no
PAACB | 11 | 1 | 10 | no
LV Supply (single) | 1 | 1 | 0 | yes
LV Cable | 1 | 1 | 0 | yes
LV Supply (Burnin) | 2 | 0 | 2 | yes | 1 Leader 718-5D+ 1 Leader 718-20D
LV Cables (Burnin long) | 10 | 0 | 10 | yes
LV Cables (Burnin short) | 10 | 0 | 10 | yes
LV Distribution (Burnin) | 1 | 0 | 1 | yes
HV Supply (single) | 1 | 2 | -1 | yes | Keithleys
HV current box | 1 | 0 | 1 | yes
HV Supply (Burnin) | 10 | 10 | 0 | yes | CAEN
Electometers | 10 | 0 | 10 | no
HV controller | 1 | 0 | 1 | no | A303 or A1303 or V288
Transformer for crate | 1 | 0 | 1 | no
HV cable | 22 | 22 | 0 | yes
Crowbar | 11 | 0 | 11 | yes
Module Holders | 600 | 100 | 500 | yes
Cold Box Carrier | 10 | 0 | 10 | no
Clamshell | 1 | 0 | 1 | yes
Burnin Box (module) | 1 | 0 | 1 | no
Torino Interlock Box | 1 | 0 | 1 | no
Chiller | 1 | 1 | 0 | yes
Long Term Storage | 3 | 0 | 3 | no

## DAQ Rod Needs (FNAL)
DAQ Rod Testing Needs (FNAL)
| Total Needs | Have | Still Need | Under Control
Computer (PCI 3 slot+ 1 ISA + 1 controller) | 1 | 0 | 1 | yes | Need to figure out controller
Computer (PCI 6 slot+1 controller) | 1 | 0 | 1 | yes | Need to figure out controller
TSC | 2 | 0 | 2 | no
FED | 4 | 1 | 3 | no
FEC (rod) | 3 | 0 | 3 | no | Not clear why we need two FEC for burnin
DI/O CIO-DAS6402/12 | 1 | 0 | 1 | no | Assume rod burnin uses CAEN anameter
MUX Crates | 4 | 0 | 4 | no
MUX Boards | 23 | 0 | 23 | no
OEC | 18 | 0 | 18 | no
DOH | 3 | 0 | 3 | no | Duccio said unnecessary
LV Supply (rod) | 9 | 0 | 9 | no
HV Supply | 28 | 28 | 0 | yes | CAEN
Electrometers | 12 | 0 | 12 | no | Assumes rod burnin uses CAEN anameter
HV controller | 2 | 0 | 2 | no | A303 or A1303 or V288
Transformer for crate | 2 | 0 | 2 | no
HV patch panel (single-sided) | 8 | 0 | 8 | no | Maybe same thing as single-sided
HV patch panel (double-sided) | 8 | 0 | 8 | no
HV cable | 56 | 56 | 0 | yes
Crowbar | 28 | 0 | 28 | yes
Burnin Box (rod) | 1 | 0 | 1 | no
Rod Holders | 100 | 0 | 100 | yes
Module Tools | 2 | 0 | 2 | no
Rod Handling Tool | 2 | 0 | 2 | no
Rod Rotation Table | 1 | 0 | 1 | no

## FNAL Totals
FNAL Total Needs
Computers
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
Computer (ISA slot) | 4 | 4 | 0 | yes
Computer (3 PCI) | 1 | 1 | 0 | yes
Computer (3 PCI slot + 1 ISA slot +1 Controller) | 2 | 0 | 2 | no | [6 empty] | Need to find out which CAEN controller
Computer (PCI 6 slot +1 controller) | 1 | 0 | 1 | no | [6 empty] | Need to find out which CAEN controller
ARC Components
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
PCMIO board | 4 | 2 | 2 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
ARC Controller | 4 | 2 | 2 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
ARC FE (old) | 0 | 2 | -2 | yes | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11 | Finished
ARC FE (new) | 8 | 1 | 7 | no | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
hybrid-to-utri (ver b) | 0 | 1 | -1 | yes | Patrice Siegriest | patrice.siegrist@cern.ch |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Finished
hybrid-to-utri (ver d) | 19 | 0 | 19 | no | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-14 | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-14 | Need for testing of newest modules
LED | 2 | 1 | 1 | no | Aachen | arcs-devel@gondor.com | 2003-02-11 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
DAQ Components
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
TSC | 4 | 2 | 2 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13
FED | 6 | 3 | 3 | no | G. Hall |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13
FEC | 2 | 2 | 0 | yes |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Finished
FEC (ROD) | 3 | 0 | 3 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to understand if 2nd Fec in burnin necessery
MUX Crates | 5 | 0 | 5 | no | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26 | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26
MUX Boards | 26 | 0 | 26 | no | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26 | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26
CCU | 3 | 2 | 1 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to figure out mounting of these in burn-in box
VUTRI | 11 | 4 | 7 | no | Patrice Siegriest | patrice.siegrist@cern.ch |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to figure out mounting of these in burn-in box
PAACB | 11 | 1 | 10 | no | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-14 | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-14 | Need to figure out mounting of these in burn-in box
OEC | 18 | 0 | 18 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch
DOH | 3 | 0 | 3 | no |  |  |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Duccio said unnecessary
DI/O CIO-DAS6402/12 | 2 | 0 | 2 | no
LV Supplies
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
LV (module single) | 5 | 5 | 0 | yes | Len | leonard@fnal.gov | 2003-02-13 | Len | leonard@fnal.gov | 2003-02-13 | 2 Agilent and 10 Leader 718-5D
LV (module Burnin) | 2 | 0 | 2 | yes | Len | leonard@fnal.gov |  | Len | leonard@fnal.gov |  | 1 Leader 718-5D + 1 Leader 718-20D
LV (rod) | 9 | 0 | 9 | no | duccio?? |  |  | duccio?? |  |  | Not sure if correct
LV cable (DAQ) | 1 | 1 | 0 | yes | Len |  |  | Len |  |  | Finished
LV cable (Burnin-long) | 10 | 0 | 10 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Bukre | sburke@hep.ucsb.edu
LV cable (Burnin-short) | 10 | 0 | 10 | yes | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-27 | Patrice Siegrest | patrice.siegrist@cern.ch | 2003-02-27
LV Distribution (Burnin) | 1 | 0 | 1 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Bukre | sburke@hep.ucsb.edu
HV Supplies
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
DEPP | 4 | 0 | 4 | no | Aachen | arcs-devel@gondor.com | 2003-02-11 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2./11/2003 | Need to request this quantity once it works
HV (single module) | 1 | 2 | -1 | yes | Gale Hanson | Gail.Hanson@ucr.edu | 2003-01-30 | Gale Hanson | Gail.Hanson@ucr.edu | 2003-01-30 | 2 Keithley 437
HV (CAEN) | 38 | 38 | 0 | yes | CERN |  |  | Len | leonard@fnal.gov |  | 220 V, 50 Hz
Crow bars | 43 | 0 | 43 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV cables | 86 | 86 | 0 | yes | Len | leonard@fnal.gov | 2003-02-13 | Len | leonard@fnal.gov | 2003-02-13 | Surplus FNAL cable, cancel S. Burke's order if possible
HV current box | 1 | 0 | 1 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV controller | 3 | 0 | 3 | no | Andreas Ruben | sales.us@weiner-d,com | 2003-02-27 | Len | leonard@fnal.gov |  | 10-12 deliver time (A303 or A1303 or V288)
Transformer for crates | 3 | 0 | 3 | no | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu |  | Need to find this
Electrometer | 22 | 0 | 22 | no
HV patch panel (single sided) | 8 | 0 | 8 | no | [6 empty] | Need to find this
HV patch panel (double sided) | 8 | 0 | 8 | no | [6 empty] | Need to find this
Infrastructure
| Total Need | Have | Still Need | Under Control | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
Clamshell | 5 | 1 | 4 | yes | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Hybrid Clamshell | 2 | 0 | 2 | no | Tony |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Arrival fast test and characterization, holds hybrids in a standard way
Module Holders | 600 | 100 | 500 | yes | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Cold Box Carrier Plates | 10 | 0 | 10 | no | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Burnin Box (module) | 1 | 0 | 1 | no |  |  |  | Ariella Cattai | Ariella.Cattai@cern.ch
Torino Interlock Box | 1 | 0 | 1 | no | Lino Demaria | demaria@to.infn.it |  | Lino Demaria | demaria@to.infn.it
Chiller | 1 | 1 | 0 | yes | Len | leonard@fnal.gov |  | Len | leonard@fnal.gov
Long Term Storage | 3 | 0 | 3 | no | Dave Hale | dhale@hep.ucsb.edu |  | Regina Demina | regina@phys.ksu.edu
Rod Holder | 100 | 0 | 100 | yes | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Finished
Burnin Box (rod) | 1 | 0 | 1 | no | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11
Module Tools | 2 | 0 | 2 | no
Rod Handling Tool | 2 | 0 | 2 | no
Rod Rotation Table | 1 | 0 | 1 | no
LV Test tail Version 1.12 | 200 | 15 | 185 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
LV Test tail Version 2 | 70 | 0 | 70 | no | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV Test tail Version 2 | 140 | 0 | 140 | no | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV Test tail Version 3 | 200 | 15 | 185 | yes | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu

## UC-Riverside
ARC Testing Needs (UCR)
| Total Needs | Have | Still Need | Under Control
Computer (ISA slot) | 1 | 0 | 1 | no
PCMIO board | 1 | 0 | 1 | no
ARC Controller | 1 | 0 | 1 | no
ARC FE (new) | 1 | 0 | 1 | no
hybrid-to-utri (ver d) | 1 | 0 | 1 | no
LV Supply | 2 | 0 | 2 | yes
HV cable | 2 | 0 | 2 | yes
Crowbar | 1 | 0 | 1 | yes
DEPP | 1 | 0 | 1 | no
Clamshell | 1 | 0 | 1 | yes
DAQ Module Testing Needs (UCR)
| Total Needs | Have | Still Need | Under Control
Computer (PCI 3 slot) | 1 | 0 | 1 | no
TSC | 1 | 0 | 1 | no
FED | 1 | 0 | 1 | no
FEC | 1 | 0 | 1 | no
CCU | 1 | 0 | 1 | no
VUTRI | 1 | 0 | 1 | no
hybrid-to-utri (ver d) | 1 | 0 | 1 | no
PAACB | 1 | 0 | 1 | no
LED (DAQ) | 1 | 0 | 1 | no
LV Supply (single) | 2 | 0 | 2 | yes
LV Cable | 1 | 1 | 0 | yes
HV cable | 2 | 0 | 2 | yes
Crowbar | 1 | 0 | 1 | yes
HV supply (single) | 1 | 1 | 0 | yes | Keithley
Clamshell | 1 | 0 | 1 | yes

## US Grand Total
US Total Needs
Computers
| Total Need | Have | Still Need | Under Control | In route | Date expected | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
Computer (ISA slot) | 10 | 6 | 4 | no
Computer (PCI 3 slot) | 2 | 1 | 1 | no
Computer (3 PCI slot + 1 ISA slot +1 Controller) | 4 | 1 | 3 | no | [8 empty] | Need to find out which CAEN controller
Computer (PCI 6 slot +1 controller) | 2 | 0 | 2 | no | [8 empty] | Need to find out which CAEN controller
ARC Components
| Total Need | Have | Still Need | Under Control | In route | Date expected | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
PCMIO board | 10 | 3 | 7 | no | 3 |  | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
ARC Controller | 10 | 3 | 7 | no | 3 |  | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
ARC FE (old) | 4 | 3 | 1 | no | 0 |  | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11 | Make sure to switch our new with FNAL old
ARC FE (new) | 15 | 2 | 13 | no | 8 |  | Aachen | arcs-devel@gondor.com | 2003-11-01 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
hybrid-to-utri (ver b) | 0 | 3 | -3 | yes |  |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Finished
hybrid-to-utri (ver d) | 36 | 0 | 36 | no |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-14 | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-14 | Need for testing of newest modules
LED | 4 | 1 | 3 | yes | 3 |  | Aachen | arcs-devel@gondor.com | 2003-02-11 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2003-02-11
DAQ Components
| Total Need | Have | Still Need | Under Control | In route | Date expected | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
TSC | 8 | 3 | 5 | no | [5 empty] | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13
FED | 12 | 4 | 8 | no |  |  | G. Hall |  |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13
FEC | 4 | 3 | 1 | no | [5 empty] | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to understand if 2nd Fec in burnin necessery
FEC (ROD) | 6 | 0 | 6 | no | [5 empty] | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to understand if 2nd Fec in burnin necessery
MUX Crates | 10 | 1 | 9 | no |  |  | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26 | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26
MUX Boards | 52 | 3 | 49 | no |  |  | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26 | Guido Dirkes | dirkes@iekp.fzk.de | 2002-11-26
CCU | 6 | 3 | 3 | no | [5 empty] | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to figure out mounting of these in burn-in box
VUTRI | 22 | 6 | 16 | no |  |  | Patrice Siegriest | patrice.siegrist@cern.ch |  | Patrice Siegriest | patrice.siegrist@cern.ch | 2003-02-13 | Need to figure out mounting of these in burn-in box
PAACB | 22 | 2 | 20 | no |  |  | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-14 | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-14 | Need to figure out mounting of these in burn-in box
OEC | 36 | 0 | 36 | no | [5 empty] | Patrice Siegriest | patrice.siegrist@cern.ch
DOH | 6 | 0 | 6 | no | [5 empty] | Patrice Siegriest | patrice.siegrist@cern.ch |  | Duccio said not necessary
DI/O CIO-DAS6402/12 | 4 | 0 | 4 | no
LV Supplies
| Total Need | Have | Still Need | Under Control | In route | Date expected | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
LV (module single) | 21 | 9 | 12 | yes | 10 |  | Len | leonard@fnal.gov | 2003-02-13 | Len | leonard@fnal.gov | 2003-02-13 | 2 Agilent and 10 Leader 718-5D
LV (module Burnin) | 4 | 1 | 3 | yes | 3 |  | Len | leonard@fnal.gov |  | Len | leonard@fnal.gov |  | 1 Leader 718-5D + 1 Leader 718-20D
LV (rod) | 18 | 0 | 18 | no |  |  | duccio?? |  |  | duccio?? |  |  | Not sure if correct
LV cable (DAQ) | 3 | 5 | -2 | yes |  |  | me |  |  | me |  |  | Finished
LV cable (Burnin-long) | 20 | 0 | 20 | yes |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Bukre | sburke@hep.ucsb.edu
LV cable (Burnin-short) | 20 | 0 | 20 | yes | 7 |  | Wim Beaumont | wim.beaumont@ua.ac.be | 2003-02-27 | Patrice Siegrest | patrice.siegrist@cern.ch | 2003-02-27
LV Distribution (Burnin) | 2 | 0 | 2 | yes |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Bukre | sburke@hep.ucsb.edu
HV Supplies
| Total Need | Have | Still Need | Under Control | In route | Date expected | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
DEPP | 9 | 0 | 9 | no | 1 |  | Aachen | arcs-devel@gondor.com | 2003-02-11 | Joachim Mnich | mnich@physik.rwth-aachen.de | 2./11/2003 | Need to request this quantity once it works
HV (single module) | 3 | 5 | -2 | yes |  |  | Gale Hanson | Gail.Hanson@ucr.edu | 2003-01-30 | Gale Hanson | Gail.Hanson@ucr.edu | 2003-01-30 | 2 Keithley 437
HV (CAEN) | 76 | 76 | 0 | yes |  |  | CERN |  |  | Len | leonard@fnal.gov |  | 220 V, 50 Hz
Crow bars | 87 | 1 | 86 | yes |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV cables | 174 | 170 | 4 | yes |  |  | Len | leonard@fnal.gov | 2003-02-13 | Len | leonard@fnal.gov | 2003-02-13 | Surplus FNAL cable, cancel S. Burke's order if possible
HV current box | 2 | 0 | 2 | yes | 2 |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV controller | 6 | 0 | 6 | no | 1 |  | Andreas Ruben | sales.us@weiner-d,com | 2003-02-27 | Len | leonard@fnal.gov |  | 10-12 deliver time (A303 or A1303 or V288)
Transformer for crates | 6 | 0 | 6 | no |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu |  | Need to find this
Electrometer | 44 | 0 | 44 | no | 8
HV patch panel (single sided) | 16 | 0 | 16 | no | [8 empty] | Need to find this
HV patch panel (double sided) | 16 | 0 | 16 | no | [8 empty] | Need to find this
Infrastructure
| Total Need | Have | Still Need | Under Control | In route | Date expected | Originator | E-mail | Last Contact | Deliverer | E-mail | Last Contact | Comments
Hybrid Holders | 600 | 0 | 600 | yes |  |  | Alan Honma | Alan.Honma@cern.ch |  | Dave Hale | dhale@hep.ucsb.edu |  | Want to us in fast testing , bonding and thermal testing
Clamshell | 11 | 1 | 10 | yes | 2 |  | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Hybrid Clamshell | 4 | 0 | 4 | yes | 2 |  | Tony |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Arrival fast test and characterization, holds hybrids in a standard way
Hybrid Thermal Cycler | 1 | 0 | 1 | no |  |  | Alan Honma | Alan.Honma@cern.ch |  | Alan Honma | Alan.Honma@cern.ch
Module Holders | 1200 | 200 | 1000 | yes |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Cold Box Carrier Plates | 20 | 0 | 20 | no |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Burnin Box (module) | 2 | 0 | 2 | no | 1 |  |  |  |  | Ariella Cattai | Ariella.Cattai@cern.ch
Torino Interlock Box | 2 | 0 | 2 | no | 1 |  | Lino Demaria | demaria@to.infn.it |  | Lino Demaria | demaria@to.infn.it
Chiller | 2 | 2 | 0 | yes |  |  | Len | leonard@fnal.gov |  | Len | leonard@fnal.gov |  | Finished
Rack Enclosures | 3 | 1 | 2 | yes |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu |  | For holding of ARC stands
Storage Racks | 12 | 0 | 12 | no |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu
Inspection Table | 1 | 1 | 0 | yes |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu |  | Finished
Microscope | 1 | 1 | 0 | yes |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Dave Hale | dhale@hep.ucsb.edu |  | Finished
Long Term Storage | 6 | 0 | 6 | no |  |  | Dave Hale | dhale@hep.ucsb.edu |  | Regina Demina | regina@phys.ksu.edu
Rod Holder | 200 | 0 | 200 | yes |  |  | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Finished
Burnin Box (rod) | 2 | 0 | 2 | no |  |  | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11 | Paul Tipton | tipton@pas.rochester.edu | 2003-02-11
Module Tools | 4 | 0 | 4 | no
Rod Handling Tool | 4 | 0 | 4 | no
Rod Rotation Table | 2 | 0 | 2 | no
LV Test tail Version 1.12 | 400 | 30 | 370 | yes |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
LV Test tail Version 2 | 140 | 0 | 140 | no |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV Test tail Version 2 | 280 | 0 | 280 | no |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu
HV Test tail Version 3 | 400 | 30 | 370 | yes |  |  | Sam Burke | sburke@hep.ucsb.edu |  | Sam Burke | sburke@hep.ucsb.edu